## Sheet1
48WS.com URL | Category | SKU # | Product Name | Image | Manufacturer_URL | Weight | Manufacturer | Description | Quick Overview | Details | Group Name | Info/Size/Color | UPC
| 20247 | 31722 | #10 Stud 16-14 AWG | LCP-350-500.jpg |  |  | 2085 | Flanged Spade Terminal, #10 Stud, 16-14 AWG, Nylon Insulated - 50pk 31722 | <div><ul><li><b style="line-height: 1.66667;">Molex 19125-0037 <b style="line-height: 1.66667;">Nylon Insulated Fork Terminal</li><li><span style="line-height: 1.66667;">Category: </span><a href="//www.waytekwire.com/products/1434/Spade-Terminals/" style="line-height: 1.66667;" target="_self">Spade Terminals</a></li><li><span style="line-height: 1.66667;">Manufacturer: </span><a href="//www.waytekwire.com/manf/130/MOLEX/" style="line-height: 1.66667;" target="_self">Molex</a></li><li><span style="line-height: 1.66667;">Series: Avikrimp</span></li><li><span style="line-height: 1.66667;">Connector Type: </span><a href="//www.waytekwire.com/products/1434/Spade-Terminals/&amp;Spade-Type=Flanged-Block" style="line-height: 1.66667;" target="_self">Flanged Spade Connector</a></li><li><span style="line-height: 1.66667;">Color: Blue</span></li><li><span style="line-height: 1.66667;">Stud Size: </span><a href="//www.waytekwire.com/products/1434/Spade-Terminals/&amp;Stud-Size=-10" target="_self">#10</a></li><li><span style="line-height: 1.66667;">Insulation: </span><a href="//www.waytekwire.com/products/1434/Spade-Terminals/&amp;Insulation-Material=Nylon" target="_self">Nylon</a></li><li><span style="line-height: 1.66667;">Wire Gauge: </span><a href="//www.waytekwire.com/products/1434/Spade-Terminals/&amp;Gauge=16-14" target="_self">16-14 AWG</a></li><li><span style="line-height: 1.66667;">Material: Tin plated copper</span></li><li><span style="line-height: 1.66667;">Allows for easy wire insertion</span></li><li><span style="line-height: 1.66667;">Butted seam barrel for extra wire grip</span></li></ul></div>
| 26678 | 36230 | #4 Solder Slug | solderpell.jpg |  |  | 2085 | Solder Pellet 4 GA, Gray - 25pk 36230 | <ul><li>Solder Pellet 36230<br/></li><li>Category: <a href="https://www.waytekwire.com/item/36230/4-GA-Gray-Solder-Pellet/" target="_blank">Solder</a></li><li>Battery terminal solder pellets are a fast method for attaching a battery lug to a cable </li><li> Cost efficient method eliminates the need for crimping </li><li> Color coded to industry standard </li><li> Sold in pack of 25 </li></ul>
| 26678 | 36233 | 1/0 GA Solder Plug | solderpell.jpg |  |  | 2085 | Solder Pellet 1/0 GA, Black - 25pk 36233 | <ul><li>Solder Pellet 36233<br/></li><li>Category: <a href="https://www.waytekwire.com/item/36230/4-GA-Gray-Solder-Pellet/" target="_blank">Solder</a></li><li>Battery terminal solder pellets are a fast method for attaching a battery lug to a cable </li><li> Cost efficient method eliminates the need for crimping </li><li> Color coded to industry standard </li><li> Sold in pack of 25 </li></ul>
| 20249 | 36140 | 1/0 ga x 3/8 Battery Lug | molex1.jpg |  |  | 2085 | 1/0 ga x 3/8 Battery Lug - 1pk 36140 | <ul><li>Molex 192210377 Copper Eyelet<br/></li><li>Category: <a href="https://www.waytekwire.com/products/1427/Eyelets/" target="_blank">Eyelets</a></li><li>Manufacturer: <a href="https://www.waytekwire.com/manf/130/Molex/" target="_blank">Molex</a></li><li>Stud size:3/8"</li><li>Wire gauge: 1/0</li><li>Orientation: Straight</li><li>Material: Bare Copper</li><li>Meets UL requirements</li><li>Heavy wall for maximum amperage and conductivity </li><li>ROHS compliant </li></ul>
| 27821 | WL10-6 | 10 gauge GXL cross link primary wire - Blue | wl-10.jpg |  |  | 2085 | 10 gauge GXL cross link primary wire - BULK WIRE - Blue | <div> Spool Sizes Available: 250', 500', 1000', 2000' </div>
| 27821 | WL10-0 | 10 gauge GXL cross link primary wire - BULK WIRE - Black | wl-10.jpg |  |  | 2085 | 10 gauge GXL cross link primary wire - BULK WIRE - Black | <div> Spool Sizes Available: 250', 500', 1000', 2000' </div>
| 27821 | WL10-1 | 10 gauge GXL cross link primary wire - BULK WIRE - Brown | wl-10.jpg |  |  | 2085 | 10 gauge GXL cross link primary wire - BULK WIRE - Brown | <div> Spool Sizes Available: 250', 500', 1000', 2000' </div>
| 27821 | WL10-2 | 10 gauge GXL cross link primary wire - BULK WIRE - Red | wl-10.jpg |  |  | 2085 | 10 gauge GXL cross link primary wire - BULK WIRE - Red | <div> Spool Sizes Available: 250', 500', 1000', 2000' </div>
| 27821 | WL10-9 | 10 gauge GXL cross link primary wire - BULK WIRE - White | wl-10.jpg |  |  | 2085 | 10 gauge GXL cross link primary wire - BULK WIRE - White | <div> Spool Sizes Available: 250', 500', 1000', 2000' </div>
| 27821 | WG12-9 | 12 gauge Automotive Primary Wire GPT White - BULK WIRE | WG12-9.jpg |  |  | 2085 | 12 gauge Automotive Primary Wire GPT White - BULK WIRE | <ul> <li>WG12-9-100 Automotive Primary Wire, GPT Standard Wall<br/></li><li>Category: <a href="https://www.waytekwire.com/products/1455/Automotive-Primary-Wire/" target="_blank">Automotive Primary Wire</a></li><li>Automotive primary wire is a general purpose wire for original equipment and replacement automotive applications<br/></li> <li> Smooth jacket surface ideal for pulling through corrugated loom or conduit </li> <li> SAEJ1128-GPT </li> <li> Excellent resistance to oil and flame </li> <li> Single conductor, stranded, bare copper </li> <li> Jacketed polyvinylchloride (PVC) </li> <li> Available in drum/barrel quantities at discounted prices </li> <li> Temp rating: -40°F (-40°C) to 185°F (85°C) </li> <li> Larger spool sizes available. See <a href="//www.waytekwire.com/item/WG12-9/" target="_self">WG12-9</a> </li> </ul>
| 27821 | wl12-0 | 12 gauge GXL cross link primary wire - black | WL16-9.jpg |  |  | 2085 | 12 gauge GXL cross link primary wire - black - BULK WIRE | <div> Spool Sizes Available: 250', 500', 1000', 1500', 3000' </div>
| 27821 | WL12-1 | 12 gauge GXL cross link primary wire - Brown - BULK WIRE | WL12.jpg |  |  | 2085 | 12 gauge GXL cross link primary wire - Brown - BULK WIRE | <div>Spool Sizes Available: 250', 500', 1000', 1500', 3000'<br/></div>
| 27821 | WL12-4 | 12 gauge GXL cross link primary wire - BULK SPOOL - Yellow | WL12.jpg |  |  | 2085 | 12 gauge GXL cross link primary wire - BULK SPOOL - Yellow | <div> Spool Sizes Available: 250', 500', 1000', 1500', 3000' </div>
| 27821 | WL12-3 | 12 gauge GXL cross link primary wire - orange | WL12.jpg |  |  | 2085 | 12 gauge GXL cross link primary wire - orange - BULK SPOOL | <div> Spool Sizes Available: 250', 500', 1000', 1500', 3000' </div>
| 27821 | WL12-2 | 12 gauge GXL cross link primary wire - red | WL12.jpg |  |  | 2085 | 12 gauge GXL cross link primary wire - red - BULK WIRE | <div> Spool Sizes Available: 250', 500', 1000', 1500', 3000' </div>
| 20255 | 38248 | 12-10 GA to 8 GA Step Down Butt Connector | externalstepdownbutt.jpg |  |  | 2085 | External Step Down Butt Connector 38248, Non-Insulated, 12-10 GA to 8 GA 38248 | <ul><li>External Step Down Butt Connector 38248</li><li>Category: <a href="https://www.waytekwire.com/products/1425/Butt-Connectors/" target="_blank">Butt Connectors</a><br/></li><li>Used to connect two different sized wires, internal step down</li><li>Window allows for a sound mechanical crimp</li><li>Tin plated copper material</li><li>Stripes at both ends indicate which wire size to insert and which crimp die to use, external step down</li><li>12-10 GA to 8 GA</li><li>Stripe Color: yellow/pink</li></ul>
| 27821 | WL14-2 | 14 gauge GXL cross link primary wire - Red | WL16-9.jpg |  |  | 2085 | 14 gauge GXL cross link primary wire - Red- BULK SPOOL | <div> Spool Sizes Available: 500', 1000', 2000', 4000'</div>
| 27821 | WL14-7 | 14 gauge GXL cross link primary wire - Violet- Bulk | WL16-9.jpg |  |  | 2085 | 14 gauge GXL cross link primary wire - Violet - Bulk | <div> Spool Sizes Available: 500', 1000', 2000', 4000'</div>
| 27821 | WL14-0 | 14 gauge GXL cross link primary wire - Black | WL16-9.jpg |  |  | 2085 | 14 gauge GXL cross link primary wire - Black - BULK SPOOL | <div> Spool Sizes Available: 500', 1000', 2000', 4000'</div>
| 27821 | WL14-6 | 14 gauge GXL cross link primary wire - Blue | WL16-9.jpg |  |  | 2085 | 14 gauge GXL cross link primary wire - Blue- BULK SPOOL | <div> Spool Sizes Available: 500', 1000', 2000', 4000'</div>
| 27821 | WL14-1 | 14 gauge GXL cross link primary wire - Brown | WL16-9.jpg |  |  | 2085 | 14 gauge GXL cross link primary wire - Brown- BULK SPOOL | <div> Spool Sizes Available: 500', 1000', 2000', 4000'</div>
| 27821 | WL14-8 | 14 gauge GXL cross link primary wire - Gray | WL16-9.jpg |  |  | 2085 | 14 gauge GXL cross link primary wire - Gray- BULK SPOOL | <div> Spool Sizes Available: 500', 1000', 2000', 4000'</div>
| 27821 | WL14-5 | 14 gauge GXL cross link primary wire - Green | WL16-9.jpg |  |  | 2085 | 14 gauge GXL cross link primary wire - Green - BULK SPOOL | <div> Spool Sizes Available: 500', 1000', 2000', 4000'</div>
| 27821 | WL14-3 | 14 gauge GXL cross link primary wire - Orange | WL16-9.jpg |  |  | 2085 | 14 gauge GXL cross link primary wire - Orange- BULK SPOOL | <div> Spool Sizes Available: 500', 1000', 2000', 4000'</div>
| 27821 | WL14-9 | 14 gauge GXL cross link primary wire - White | WL16-9.jpg |  |  | 2085 | 14 gauge GXL cross link primary wire - White- BULK SPOOL | <div> Spool Sizes Available: 500', 1000', 2000', 4000'</div>
| 27821 | WL14-4 | 14 gauge GXL cross link primary wire - Yellow | WL16-9.jpg |  |  | 2085 | 14 gauge GXL cross link primary wire - Yellow- BULK SPOOL | <div> Spool Sizes Available: 500', 1000', 2000', 4000'</div>
| 27821 | WL16-0 | 16 gauge GXL cross link primary wire - Black | WL16-9.jpg |  |  | 2085 | 16 gauge GXL cross link primary wire - BULK SPOOL - Black | <div> Spool Sizes Available: 500', 1000', 2500', 5000'</div>
| 27821 | WL16-6 | 16 gauge GXL cross link primary wire - Blue | WL16-9.jpg |  |  | 2085 | 16 gauge GXL cross link primary wire - BULK SPOOL - Blue | <div> Spool Sizes Available: 500', 1000', 2500', 5000'</div>
| 27821 | WL16-1 | 16 gauge GXL cross link primary wire - Brown | WL16-9.jpg |  |  | 2085 | 16 gauge GXL cross link primary wire - BULK SPOOL - Brown | <div> Spool Sizes Available: 500', 1000', 2500', 5000'</div>
| 27821 | WL16-8 | 16 gauge GXL cross link primary wire - BULK - GREY | WL16-9.jpg |  |  | 2085 | 16 gauge GXL cross link primary wire - BULK - GREY | <div> Spool Sizes Available: 500', 1000', 2500', 5000'</div>
| 27821 | WL16-5 | 16 gauge GXL cross link primary wire - Green | WL16-9.jpg |  |  | 2085 | 16 gauge GXL cross link primary wire - BULK SPOOL - Green | <div> Spool Sizes Available: 500', 1000', 2500', 5000'</div>
| 27821 | WL16-3 | 16 gauge GXL cross link primary wire - Orange | WL16-9.jpg |  |  | 2085 | 16 gauge GXL cross link primary wire - BULK SPOOL - Orange | <div> Spool Sizes Available: 500', 1000', 2500', 5000'</div>
| 27821 | WL16-2 | 16 gauge GXL cross link primary wire - Red | WL16-9.jpg |  |  | 2085 | 16 gauge GXL cross link primary wire - BULK SPOOL - Red | <div> Spool Sizes Available: 500', 1000', 2500', 5000'</div>
| 27821 | WL16-9 | 16 gauge GXL cross link primary wire - White | WL16-9.jpg |  |  | 2085 | 16 gauge GXL cross link primary wire - BULK SPOOL - White | <div> Spool Sizes Available: 500', 1000', 2500', 5000'</div>
| 27821 | WL16-4 | 16 gauge GXL cross link primary wire - Yellow | WL16-9.jpg |  |  | 2085 | 16 gauge GXL cross link primary wire - BULK SPOOL - Yellow | <div> Spool Sizes Available: 500', 1000', 2500', 5000'</div>
| 20221 | WL16-7 | 16 Gauge GXL Crosslink Thin Wall Violet | WL16-9.jpg |  |  | 2085 | WL16-7 Automotive Cross-Link Wire GXL Thin Wall 16GA Violet WL16-7 | <div> Spool Sizes Available: 500', 1000', 2500', 5000'</div>
| 27821 | WL18-0 | 18 gauge GXL cross link primary wire -BULK SPOOL - Black | WL16-9.jpg |  |  | 2085 | 18 gauge GXL cross link primary wire -BULK SPOOL - Black | <div> Spool Sizes Available: 500', 1000', 3000', 5000'</div>
| 27821 | WL18-1 | 18 gauge GXL cross link primary wire -BULK SPOOL - Brown | WL16-9.jpg |  |  | 2085 | 18 gauge GXL cross link primary wire -BULK SPOOL - Brown | <div> Spool Sizes Available: 500', 1000', 3000', 5000'</div>
| 27821 | WL18-8 | 18 gauge GXL cross link primary wire -BULK SPOOL - Grey | WL16-9.jpg |  |  | 2085 | 18 gauge GXL cross link primary wire -BULK SPOOL - Grey | <div> Spool Sizes Available: 500', 1000', 3000', 5000'</div>
| 27821 | WL18-2 | 18 gauge GXL cross link primary wire -BULK SPOOL - Red | WL16-9.jpg |  |  | 2085 | 18 gauge GXL cross link primary wire -BULK SPOOL - Red | <div> Spool Sizes Available: 500', 1000', 3000', 5000'</div>
| 27821 | WL18-4 | 18 gauge GXL cross link primary wire -BULK SPOOL - Yellow | WL16-9.jpg |  |  | 2085 | 18 gauge GXL cross link primary wire -BULK SPOOL - Yellow | <div> Spool Sizes Available: 500', 1000', 3000', 5000'</div>
| 19913 | 47708 | 2 Pin Connector Pigtail Clearance Light | pin47708.jpg |  |  | 2085 | 2 Pin Connector Pigtail Clearance Light - 10pk 47708 | <ul> <li>2 Pin Connector Pigtail Clearance Light 47708</li><li>Category: <a href="https://www.waytekwire.com/products/1384/Clearance-Marker-Lights/" target="_blank">Clearance/Marker Lights</a><br/></li><li> Pigtail connector for use with the following LED Clearance/Marker lights: </li> <ul><li> 2.5" Sealed Round <a href="//www.waytekwire.com/item/47766/2-5-ROUND-RED-LED-CLEARANCE/" target="_self">red</a> and <a href="//www.waytekwire.com/item/47765/2-5-ROUND-AMBER-LED-CLEARANCE/" target="_self">amber</a> lenses </li><li> 2" Sealed round <a href="//www.waytekwire.com/item/47762/2-ROUND-RED-LED-CLEARANCE/" target="_self">red</a> and <a href="//www.waytekwire.com/item/47763/2-ROUND-AMBER-LED-CLEARANCE/" target="_self">amber</a> lenses </li><li> Double bullseye <a href="//www.waytekwire.com/item/47770/4-X-2-LED-RED-DOUBLE/" target="_self">red</a> and <a href="//www.waytekwire.com/item/47769/4-X-2-LED-AMBER-DOUBLE/" target="_self">amber</a> lenses </li><li> 4" rectangle <a href="//www.waytekwire.com/item/47985/LED-CLEARANCE-LIGHT-RED/" target="_self">red</a> and <a href="//www.waytekwire.com/item/47986/LED-CLEARANCE-LIGHT-AMBER/" target="_self">amber</a> lenses </li></ul> </ul>
| 26678 | 36234 | 2/0 GA Solder Plug | solderpell.jpg |  |  | 2085 | Solder Pellet 36234 2/0 GA Orange - 25pk 36234 | <ul><li>Solder Pellet 36234<br/></li><li>Category: <a href="https://www.waytekwire.com/item/36230/4-GA-Gray-Solder-Pellet/" target="_blank">Solder</a></li><li>Battery terminal solder pellets are a fast method for attaching a battery lug to a cable </li><li> Cost efficient method eliminates the need for crimping </li><li> Color coded to industry standard </li><li> Sold in pack of 25 </li></ul>
| 27821 | WL20-0 | 20 gauge GXL cross link primary wire -BULK SPOOL - Black | WL20.jpg |  |  | 2085 | 20 gauge GXL cross link primary wire -BULK SPOOL - Black | <div> Spool Sizes Available: 500', 1000', 3000', 5000'</div>
| 27821 | WM22-0 | 22 gauge TXL cross link primary wire- Extra Thin Wall - BULK WIRE - Black | WM22-16.jpg |  |  | 2085 | 22 gauge TXL cross link primary wire- Extra Thin Wall - BULK WIRE - Black | <div> Spool Sizes Available: 500', 1000', 3000', 15000' </div>
| 27821 | WM22-1 | 22 gauge TXL cross link primary wire- Extra Thin Wall - BULK WIRE - BROWN | WM22-16.jpg |  |  | 2085 | 22 gauge TXL cross link primary wire- Extra Thin Wall - BULK WIRE - BROWN | <b style="line-height: 1.6666666666666667;">Spool Sizes Available: 500', 1000', 3000', 15000'
| 27821 | WM22-5 | 22 gauge TXL cross link primary wire- Extra Thin Wall - BULK WIRE - GREEN | WM22-16.jpg |  |  | 2085 | 22 gauge TXL cross link primary wire- Extra Thin Wall - BULK WIRE - GREEN | <div> Spool Sizes Available: 500', 1000', 3000', 15000' </div>
| 27821 | WM22-2 | 22 gauge TXL cross link primary wire- Extra Thin Wall - BULK WIRE - Red | WM22-16.jpg |  |  | 2085 | 22 gauge TXL cross link primary wire- Extra Thin Wall - BULK WIRE - Red | <div> Spool Sizes Available: 500', 1000', 3000', 15000' </div>
| 27821 | WM22-9 | 22 gauge TXL cross link primary wire- Extra Thin Wall - BULK WIRE - WHITE | WM22-16.jpg |  |  | 2085 | 22 gauge TXL cross link primary wire- Extra Thin Wall - BULK WIRE - WHITE | #N/A
| 27821 | WM22-2 | 22 gauge TXL cross link primary wire- Extra Thin Wall - BULK WIRE - Yellow | WM22-16.jpg |  |  | 2085 | 22 gauge TXL cross link primary wire- Extra Thin Wall - BULK WIRE - Yellow | <div> Spool Sizes Available: 500', 1000', 3000', 15000' </div>
| 20249 | 36132 | 2ga X 3/8 Battery Lug | molex1.jpg |  |  | 2085 | 2ga X 3/8 Battery Lug - 1pk | <ul><li>Molex 192210380 Copper Eyelet<br/></li><li>Category: <a href="https://www.waytekwire.com/products/1427/Eyelets/" target="_blank">Eyelets</a></li><li>Manufacturer: <a href="https://www.waytekwire.com/manf/130/Molex/" target="_blank">Molex</a></li><li>Stud size:3/8"</li><li>Wire gauge: 2</li><li>Orientation: Straight</li><li>Material: Bare Copper</li><li>Meets UL requirements</li><li>Heavy wall for maximum amperage and conductivity </li><li>ROHS compliant </li></ul>
| 20586 | 06145 | Alligator Clip with Barrel | 06145.jpg |  |  | 2085 | Alligator Clip with Barrel - 20pk 06145 | #N/A
| 19928 | 46194 | ANL-200 Low Voltage Limiter Fuse | aaa46194.jpg |  |  | 2085 | ANL-200 ANL Low Voltage Limiter Fuse, 200A, 32VAC, Non Time-Delay | <ul> <li>EATON's Bussmann Series ANL-200 ANL Low Voltage Limiter Fuse</li><li>Category: <a href="https://www.waytekwire.com/products/1646/Bolt-Down-Fuses/" target="_blank">Bolt-Down Fuses</a></li><li>Manufacturer: <a href="https://www.waytekwire.com/manf/15/EATON" target="_blank">EATON</a><br/></li> <li> <span style="line-height: 1.66667;">Series: ANL</span> </li> <li> <span style="line-height: 1.66667;">Style: </span><span style="line-height: 1.66667;">Bolt-Down Fuses</span> </li> <li> <span style="line-height: 1.66667;">Current Rating: </span><a href="//www.waytekwire.com/products/1367/Fuses/&amp;Amps=200" target="_self">200A</a> </li> <li> <span style="line-height: 1.66667;">Voltage Rating AC: </span><a href="//www.waytekwire.com/products/1367/Fuses/&amp;Volts=32" style="line-height: 1.66667;" target="_self">32V</a> </li> <li> <span style="line-height: 1.66667;">Silver-plated copper links</span> </li> <li> <span style="line-height: 1.66667;">Bolt-down design for high-vibration applications</span> </li> <li> <span style="line-height: 1.66667;">For high current applications</span> </li> <li> Recommended use with <a href="//www.waytekwire.com/item/46097/Cooper-Bussman-4164-ANN-ANL-Fuse-Holder/" target="_self">Cooper Bussmann 4164 ANN/ANL Fuse Holder</a> </li> </ul>
| 27821 | WG18-8 | Auto Primary Wire 18 GA Gray - 500ft | WG18-8.jpg |  |  | 2085 | WG18-8 Automotive Primary Wire, GPT Standard Wall, 18 GA, Gray - 500ft | <ul> <li>WG18-8-100 Automotive Primary Wire, GPT Standard Wall<br/></li><li>Category: <a href="https://www.waytekwire.com/products/1455/Automotive-Primary-Wire/" target="_blank">Automotive Primary Wire</a></li><li>Automotive primary wire is a general purpose wire for original equipment and replacement automotive applications<br/></li> <li> Smooth jacket surface ideal for pulling through corrugated loom or conduit </li> <li> SAEJ1128-GPT </li> <li> Excellent resistance to oil and flame </li> <li> Single conductor, stranded, bare copper </li> <li> Jacketed polyvinylchloride (PVC) </li> <li> Available in drum/barrel quantities at discounted prices </li> <li> Temp rating: -40°F (-40°C) to 185°F (85°C) </li> <li> Larger spool sizes available. See <a href="//www.waytekwire.com/item/WG18-8/" target="_self">WG18-8</a> </li> </ul>
| 28197 | WZ2-0 | Battery Cable 2GA Black | WL2-0.JPG |  |  | 2085 | SGX Cross-link Battery Cable WZ2-0, Bare Copper, 2 GA, Black - 100ft WZ2-0 | <div> Spool Sizes Available: <b style="line-height: 1.6666;">100', 250'<b style="line-height: 1.6666;"><b style="line-height: 1.6666;">, 500' </div>
| 28197 | WZ2-2 | Battery Cable 2GA Red | WZ2-2.jpg |  |  | 2085 | SGX Cross-link Battery Cable WZ2-2, Bare Copper, 2 GA, Red - 100ft WZ2-2 | <div> Spool Sizes Available: <b style="line-height: 1.6666666666666667;">100', 250'<b style="line-height: 1.6666666666666667;"><b style="line-height: 1.6666666666666667;">, 500' </div>
| 28197 | WB4-2 | Battery Cable, 4 GA, Bulk Wire - Red | WB4-2.jpg |  |  | 2085 | Battery Cable, 4 GA, Bulk Wire - Red | <div> Spool Sizes Available: 100', 250', 500' </div>
| 28197 | 44075 | Battery Isolator Switch with Detachable Key 44075, 12V | batteriso.jpg |  |  | 2085 | Battery Isolator Switch with Detachable Key 44075, 12V | <ul> <li>Battery Isolator Switch with Detachable Key 44075</li><li>Category: <a href="https://www.waytekwire.com/products/1408/Battery-Disconnects/" target="_blank">Battery Disconnects</a><br/></li><li> Battery isolator switch with detachable key </li> <li> Protects operator from accidental actuation when power is shut-down for maintenance </li> <li> Stop-key single circuit </li> <li> Maximum load is 500 amps for 5 seconds at 12 volts DC </li> <li> 100 amps continuous rating </li> <li> Spare key 44077 and splash-proof cover 44078 also available </li> <li> -13°F (-25°C) to 185°F (85°C) </li> </ul>
| 20586 | 20976 | Battery Test Clip | 20976.jpg |  |  | 2085 | Heavy Duty Automotive Test Clip, 25A - 10pk 06147 | <ul><li><b style="line-height: 1.69231;">3M 6147 Water Activated Paper Tape Rolls</li><li><span style="line-height: 1.69231;">Category: </span><a href="https://www.waytekwire.com/products/1421/Sealing-Bonding-Tape/" style="line-height: 1.66667;" target="_self">Sealing &amp; Bonding Tape</a></li><li><span style="line-height: 1.66667;">Manufacturer: </span><a href="https://www.waytekwire.com/manf/01/3M/" style="line-height: 1.66667;" target="_self">3M</a></li><li><span style="line-height: 1.66667;">Series: Scotch</span></li><li><span style="line-height: 1.66667;">Width: 2-1/2"</span></li><li><span style="line-height: 1.66667;">Roll Length: 10'</span></li><li><span style="line-height: 1.66667;">Thickness: </span>45<span style="line-height: 1.66667;"> mil</span></li><li><span style="line-height: 1.66667;">Voltage Rating: 600V</span></li><li>Dielectric Strength: 300V/mil</li><li><span style="line-height: 1.66667;">Seals high voltage cables and accessories</span></li><li><span style="line-height: 1.66667;">Self-fusing, rubber-based thin insulating mastic compound</span></li><li><span style="line-height: 1.66667;">Built-in vinyl backing for fast application and abrasion resistance</span></li><li><span style="line-height: 1.66667;">Use for moisture sealing electrical connections on automotive applications</span></li><li><span style="line-height: 1.66667;">Excellent resistance to abrasion, moisture, alkalies, acid copper corrosion and varying weather conditions</span></li> </ul>
| 20212 | 46410 | Circuit Breaker, Type I Reset, 10A, 12V - no ears | eaton-color.jpg |  |  | 2085 | EATON's Bussmann Series 121B10-00M-KA Shortstop Circuit Breaker, Type I Reset, 10A, 12V | <ul> <li> <b style="line-height: 1.66667;">EATON's Bussmann Series 121B10-00M-KA Shortstop Circuit Breaker</li> <li>Category: <a href="https://www.waytekwire.com/products/1664/Eaton-Short-Stop-Circuit-Breakers/" target="_blank">Eaton Short Stop Circuit Breakers</a><br/></li><li><span style="line-height: 1.66667;">Manufacturer: </span><a href="https://www.waytekwire.com/manf/15/EATON" target="_self">EATON</a><br/></li> <li> <span style="line-height: 1.66667;">Series: 12X</span> </li> <li> <span style="line-height: 1.66667;">Type: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Type=Short-Stop" style="line-height: 1.66667;" target="_self">Shortstop</a> </li> <li> <span style="line-height: 1.66667;">Current Rating: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Amps=10" style="line-height: 1.66667;" target="_self">10A</a> </li> <li> <span style="line-height: 1.66667;">Voltage Rating: 12V</span> </li> <li> <span style="line-height: 1.66667;">Terminals: (2) #10-32 Studs</span> </li> <li> <span style="line-height: 1.66667;">Reset Method: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Reset-Method=Type-I---Automatic" style="line-height: 1.66667;" target="_self">Type I - Automatic</a> </li> <li> <span style="line-height: 1.66667;">Metal housing cover</span> </li> <li> <span style="line-height: 1.66667;">No bracket included</span> </li> </ul>
| 20212 | 46415 | Circuit Breaker, Type I Reset, 15A, 12V- no ears | eaton-color.jpg |  |  | 2085 | EATON's Bussmann Series 121B15-00M-KA Shortstop Circuit Breaker, Type I Reset, 15A, 12V | <ul> <li> <b style="line-height: 1.66667;">EATON's Bussmann Series 121B15-00M-KA Shortstop Circuit Breaker</li> <li>Category: <a href="https://www.waytekwire.com/products/1664/Eaton-Short-Stop-Circuit-Breakers/" target="_blank">Eaton Short Stop Circuit Breakers</a><br/></li><li><span style="line-height: 1.66667;">Manufacturer: </span><a href="https://www.waytekwire.com/manf/15/EATON" target="_blank">EATON</a><br/></li> <li> <span style="line-height: 1.66667;">Series: 12X</span> </li> <li> <span style="line-height: 1.66667;">Type: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Type=Short-Stop" style="line-height: 1.66667;" target="_self">Shortstop</a> </li> <li> <span style="line-height: 1.66667;">Current Rating: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Amps=15" target="_self">15A</a> </li> <li> <span style="line-height: 1.66667;">Voltage Rating: 12V</span> </li> <li> <span style="line-height: 1.66667;">Terminals: (2) #10-32 Studs</span> </li> <li> <span style="line-height: 1.66667;">Reset Method: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Reset-Method=Type-I---Automatic" style="line-height: 1.66667;" target="_self">Type I - Automatic</a> </li> <li> <span style="line-height: 1.66667;">Heavy-duty metal housing cover</span> </li> <li> <span style="line-height: 1.66667;">No bracket included</span> </li> <li> Plastic housing also available (<a href="//www.waytekwire.com/item/46416/Cooper-Bussmann-121B15-00P-KA-Type-1/" style="line-height: 1.66667;" target="_self">Cooper Bussmann 121B15-00P-KA</a><span style="line-height: 1.66667;">)</span> </li> </ul>
| 20212 | 46420 | Circuit Breaker, Type I Reset, 20A, 12V- no ears | eaton-color.jpg |  |  | 2085 | EATON's Bussmann Series 121B20-00M-KA Shortstop Circuit Breaker, Type I Reset, 20A, 12V | <ul> <li> <b style="line-height: 1.66667;">EATON's Bussmann Series 121B20-00M-KA Shortstop Circuit Breakers </li> <li>Category: <a href="https://www.waytekwire.com/products/1664/Eaton-Short-Stop-Circuit-Breakers/" target="_blank">Eaton Short Stop Circuit Breakers</a><br/></li><li><span style="line-height: 1.66667;">Manufacturer: </span><a href="https://www.waytekwire.com/manf/15/EATON" target="_self">EATON</a><br/></li> <li> <span style="line-height: 1.66667;">Series: 12X</span> </li> <li> <span style="line-height: 1.66667;">Type: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Type=Short-Stop" style="line-height: 1.66667;" target="_self">Shortstop</a> </li> <li> <span style="line-height: 1.66667;">Current Rating: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Amps=20" target="_self">20A</a> </li> <li> <span style="line-height: 1.66667;">Voltage Rating: 12V</span> </li> <li> <span style="line-height: 1.66667;">Terminals: (2) #10-32 Studs</span> </li> <li> <span style="line-height: 1.66667;">Reset Method: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Reset-Method=Type-I---Automatic" style="line-height: 1.66667;" target="_self">Type I - Automatic</a> </li> <li> <span style="line-height: 1.66667;">Heavy-duty metal housing cover</span> </li> <li> <span style="line-height: 1.66667;">No bracket included</span> </li> <li> Plastic housing also available (<span style="line-height: 1.66667;"><a href="//www.waytekwire.com/item/46421/Cooper-Bussmann-121B20-00P-KA-Type-1/" target="_self">Cooper Bussmann 121B20-00P-KA</a>)</span> </li> </ul>
| 20212 | 46430 | Circuit Breaker, Type I Reset, 30A, 12V- no ears | eaton-color.jpg |  |  | 2085 | EATON's Bussmann Series 121B30-00M-KA Shortstop Circuit Breaker, Type I Reset, 30A, 12V | <ul> <li> <b style="line-height: 1.66667;">EATON's Bussmann Series 121B30-00M-KA Shortstop Circuit Breakers </li> <li>Category: <a href="https://www.waytekwire.com/products/1664/Eaton-Short-Stop-Circuit-Breakers/" target="_blank">Eaton Short Stop Circuit Breakers</a><br/></li><li><span style="line-height: 1.66667;">Manufacturer: </span><a href="https://www.waytekwire.com/manf/15/EATON" target="_self">EATON</a><br/></li> <li> <span style="line-height: 1.66667;">Series: 12X</span> </li> <li> <span style="line-height: 1.66667;">Type: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Type=Short-Stop" style="line-height: 1.66667;" target="_self">Shortstop</a> </li> <li> <span style="line-height: 1.66667;">Current Rating: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Amps=30" target="_self">30A</a> </li> <li> <span style="line-height: 1.66667;">Voltage Rating: 12V</span> </li> <li> <span style="line-height: 1.66667;">Terminals: (2) #10-32 Studs</span> </li> <li> <span style="line-height: 1.66667;">Reset Method: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Reset-Method=Type-I---Automatic" style="line-height: 1.66667;" target="_self">Type I - Automatic</a> </li> <li> <span style="line-height: 1.66667;">Heavy-duty metal housing cover</span> </li> <li> <span style="line-height: 1.66667;">No bracket included</span> </li> <li> Plastic housing also available (<span style="line-height: 1.66667;"><a href="//www.waytekwire.com/item/46431/Cooper-Bussmann-121B30-00P-KA-Type-1/" target="_self">Cooper Bussmann 121B30-00P-KA</a>)</span> </li> </ul>
| 20603 | 47926 | Clearance/Marker LED Light | grote47926.jpg |  |  | 2085 | Clearance/Marker LED Light, 3.78" Rectangular, Amber 12V 47926 | <ul><li><b style="line-height: 1.66667;"><span style="line-height: 1.66667;">Grote <b style="line-height: 1.66667;"><span style="line-height: 1.66667;">47093-3 </span>SuperNova </span><span style="line-height: 20px;">LED Clearance/Marker Light</span><span style="line-height: 1.66667;">s</span></li><li><span style="line-height: 1.66667;">Category: </span><a href="https://www.waytekwire.com/products/1384/Clearance-Marker-Lights/" style="line-height: 1.66667;" target="_self">Clearance/Marker Lights</a></li><li><span style="line-height: 1.66667;">Manufacturer: </span><a href="//www.waytekwire.com/manf/55/GROTE/" style="line-height: 1.66667;" target="_self">Grote</a></li><li><span style="line-height: 1.66667;">Series: US 19</span></li><li><span style="line-height: 1.66667;">Color: Amber</span></li><li><span style="line-height: 1.66667;">Shape: 3.78" Rectangle</span></li><li><span style="line-height: 1.66667;">Voltage/Amps: 12V @ 0.06A</span></li><li><span style=" line-height: 1.66667;">SAE P2<br/></span></li><li><span style="line-height: 1.66667;">Use with </span><a href="https://www.waytekwire.com/item/47928/Grote-43780-3-Clearance-Marker-Light-Bracket-/" target="_self">Grote 43780-3 Marker Light Bracket</a></li><li><span style="line-height: 1.66667;"><a href="https://www.waytekwire.com/item/47925/Grote-47092-3-Rectangular-LED-Clearance-Light/" target="_self">Grote 47092-3 Red SuperNova Clearance/Marker LED Light</a> also available</span></li></ul>
| 20603 | 47908 | Clearance/Marker LED Pigtail for US 10, 15, & 30 Series | grote47908.jpg |  |  | 2085 | Grote 67001-3 Clearance/Marker LED Pigtail for US 10, 15, & 30 Series
| 20603 | 47927 | Clearance/Marker Light Pigtail Series 19, 3.78" | 47927.jpg |  |  | 2085 | Grote 66981 Clearance/Marker Light Pigtail Series 19, 3.78" | <ul><li><b style="line-height: 1.66667;">Grote 66981 Clearance/Marker Light Pigtails</li><li><span style="line-height: 1.66667;">Category: </span><a href="https://www.waytekwire.com/products/1391/Pigtails/" style="line-height: 1.66667;" target="_self">Pigtails</a></li><li><span style="line-height: 1.66667;">Manufacturer: </span><a href="//www.waytekwire.com/manf/55/GROTE/" style="line-height: 1.66667;" target="_self">Grote</a></li><li><span style="line-height: 1.66667;">Series: US 19</span></li><li><span style="line-height: 1.66667;">Use with:</span></li><ul><li><a href="https://www.waytekwire.com/item/47925/Grote-47092-3-Rectangular-LED-Clearance-Light/" style="line-height: 1.66667;" target="_self">Grote 47092-3 Red Rectangular Marker LED Light</a></li><li><a href="https://www.waytekwire.com/item/47926/Grote-47093-3-Clearance-Marker-LED-Light-/" style="line-height: 1.66667;" target="_self">Grote 47093-3 Amber Rectangular Marker LED Light</a></li></ul> </ul>
| 20603 | 47998 | Connector Pigtail 47998 | 47998.jpg |  |  | 2085 | Connector Pigtail 47998, Right Angle, 3 Contacts, Tin Plated Brass - 5pk | <ul> <li>Connector Pigtail 47998<br/></li><li>Category: <a href="https://www.waytekwire.com/products/1391/Pigtails/" target="_blank">Pigtails</a></li><li> 3 contact plug tin plated brass 90 degree pigtail connector </li> <li> 18 gauge GPT leads, 9" wires </li> </ul>
| 24647 | LCP-413-500 | Corrugated Loom , Split Polyethylene, .413" ID, Black, ft | LCP.jpg |  |  | 2085 | Corrugated Loom , Split Polyethylene, .413" ID, Black, ft | <ul> <li>Corrugated Loom LCP-413-500</li><li>Category: <a href="https://www.waytekwire.com/products/1469/Corrugated-Loom/" target="_blank">Corrugated Loom</a></li><li> Convoluted surface protects against abrasion and pinching </li> <li> Split loom easily slides over assembly and closes for a permanent installation </li> <li> Used to protect wire, cable, tubing and hoses </li> <li> Polyethylene </li> <li> Black </li> <li> Split </li> <li> 200°F (93°C) </li> <li> 500' box, ships separately </li> <li> Boxes over 3 cubic feet are subject to dimensional weight chargers for ground shipments </li> <li> For boxes that ship air freight, the dimensional weight will be used to determine the actual shipping charges </li> </ul>
| 24647 | LCP-625-250 | Corrugated Loom , Split Polyethylene, .625" ID, Black, ft | LCP.jpg |  |  | 2085 | Corrugated Loom , Split Polyethylene, .625" ID, Black, ft | <ul> <li>Corrugated Loom LCP-625-250</li><li>Category: <a href="https://www.waytekwire.com/products/1469/Corrugated-Loom/" target="_blank">Corrugated Loom</a></li><li> Convoluted surface protects against abrasion and pinching </li> <li> Split loom easily slides over assembly and closes for a permanent installation </li> <li> Used to protect wire, cable, tubing and hoses </li> <li> Black </li> <li> Polyethylene </li> <li> Split </li> <li> 200°F (93°C) </li> <li> 250' box, ships separately </li> <li> Boxes over 3 cubic feet are subject to dimensional weight chargers for ground shipments </li> <li> For boxes that ship air freight, the dimensional weight will be used to determine the actual shipping charges </li> </ul>
| 24647 | LCP-750-550 | Corrugated Loom , Split Polyethylene, .750" ID, Black, ft | LCP.jpg |  |  | 2085 | Corrugated Loom , Split Polyethylene, .750" ID, Black, ft | <ul> <li>Corrugated Loom LCP-750-550</li><li>Category: <a href="https://www.waytekwire.com/products/1469/Corrugated-Loom/" target="_blank">Corrugated Loom</a></li><li> Convoluted surface protects against abrasion and pinching </li> <li> Split loom easily slides over assembly and closes for a permanent installation </li> <li> Used to protect wire, cable, tubing and hoses </li> <li> Black </li> <li> Polyethylene </li> <li> Split </li> <li> 200°F (93°C) </li> <li> 550' box, ships separately </li> <li> Boxes over 3 cubic feet are subject to dimensional weight chargers for ground shipments </li> <li> For boxes that ship air freight, the dimensional weight will be used to determine the actual shipping charges </li> </ul>
| 24647 | LCP-250-500 | Corrugated Loom, Split Polyethylene, .250" ID, Black, ft | LCP.jpg |  |  | 2085 | Corrugated Loom , Split Polyethylene, .250" ID, Black, ft | <ul> <li>Corrugated Loom LCP-250-500</li><li>Category: <a href="https://www.waytekwire.com/products/1469/Corrugated-Loom/" target="_blank">Corrugated Loom</a></li><li> Convoluted surface protects against abrasion and pinching </li> <li> Split loom easily slides over assembly and closes for a permanent installation </li> <li> Used to protect wire, cable, tubing and hoses </li> <li> Polyethylene </li> <li> Black </li> <li> Split </li> <li> 200°F (93°C) </li> <li> 500' box, ships separately </li> <li> Boxes over 3 cubic feet are subject to dimensional weight chargers for ground shipments </li> <li> For boxes that ship air freight, the dimensional weight will be used to determine the actual shipping charges </li> </ul>
| 24647 | LCP-350-500 | Corrugated Loom, Split Polyethylene, .350" ID, Black, ft | LCP.jpg |  |  | 2085 | Corrugated Loom , Split Polyethylene, .350" ID, Black, ft | <ul> <li>Corrugated Loom LCP-350-500</li><li>Category: <a href="https://www.waytekwire.com/products/1469/Corrugated-Loom/" target="_blank">Corrugated Loom</a></li><li> Convoluted surface protects against abrasion and pinching </li> <li> Split loom easily slides over assembly and closes for a permanent installation </li> <li> Used to protect wire, cable, tubing and hoses </li> <li> Polyethylene </li> <li> Black </li> <li> Split </li> <li> 200°F (93°C) </li> <li> 500' box, ships separately </li> <li> Boxes over 3 cubic feet are subject to dimensional weight chargers for ground shipments </li> <li> For boxes that ship air freight, the dimensional weight will be used to determine the actual shipping charges </li> </ul>
| 24647 | LCP-1000-300 | Corrugated Loom, Split Polyethylene, 1" ID, Black, ft | LCP.jpg |  |  | 2085 | Corrugated Loom, Split Polyethylene, 1" ID, Black, ft | <ul> <li>Corrugated Loom LCP-1000-300</li><li>Category: <a href="https://www.waytekwire.com/products/1469/Corrugated-Loom/" target="_blank">Corrugated Loom</a></li><li> Convoluted surface protects against abrasion and pinching </li> <li> Split loom easily slides over assembly and closes for a permanent installation </li> <li> Used to protect wire, cable, tubing and hoses </li> <li> Black </li> <li> Polyethylene </li> <li> Split </li> <li> 200°F (93°C) </li> <li> 300' box, ships separately </li> <li> Boxes over 3 cubic feet are subject to dimensional weight chargers for ground shipments </li> <li> For boxes that ship air freight, the dimensional weight will be used to determine the actual shipping charges </li> </ul>
| 20212 | 46371 | EATON's Bussmann Series 123B20-A2P-KA Shortstop Circuit Breaker | eaton2.jpg |  |  | 2085 | EATON's Bussmann Series 123B20-A2P-KA Shortstop Circuit Breaker, Type III Reset, 20A, 24V | <ul> <li> <b style="line-height: 1.66667;">EATON's Bussmann Series 123B20-A2P-KA Shortstop Circuit Breaker</li> <li>Category: <a href="https://www.waytekwire.com/products/1664/Eaton-Short-Stop-Circuit-Breakers/" target="_blank">Eaton Short Stop Circuit Breakers</a><br/></li><li><span style="line-height: 1.66667;">Manufacturer: </span><a href="https://www.waytekwire.com/manf/15/EATON" target="_self">EATON</a><br/></li> <li> <span style="line-height: 1.66667;">Series: 12X</span> </li> <li> <span style="line-height: 1.66667;">Type: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Type=Short-Stop" style="line-height: 1.66667;" target="_self">Shortstop</a> </li> <li> <span style="line-height: 1.66667;">Current Rating: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Amps=20" target="_self">20A</a> </li> <li> <span style="line-height: 1.66667;">Voltage Rating: 24V</span> </li> <li> <span style="line-height: 1.66667;">Terminals: (2) #10-32 Studs</span> </li> <li> <span style="line-height: 1.66667;">Reset Method: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Reset-Method=Type-III---Manual" target="_self">Type III - Manual</a> </li> <li> <span style="line-height: 1.66667;">Mounting Style: Right Angle Bracket</span> </li> <li> <span style="line-height: 1.66667;">Plastic housing cover</span> </li> </ul>
| 19917 | 46270 | EATON's Bussmann Series AMG-100 High Amp Fuse | eaton1.jpg |  |  | 2085 | EATON's Bussmann Series AMG-100 High Amp Fuse, 100A, 32V, Bolt-Down Design | <ul> <li>EATON's Bussmann Series AMG-100 High Amp Fuse</li><li>Category: <a href="https://www.waytekwire.com/products/1646/Bolt-Down-Fuses/" target="_blank">Bolt-Down Fuses</a></li><li>Manufacturer: <a href="https://www.waytekwire.com/manf/15/EATON" target="_blank">EATON</a><br/></li> <li> <span style="line-height: 1.66667;">Series: AMG</span> </li> <li> <span style="line-height: 1.66667;">Style: </span><span style="line-height: 1.66667;">Bolt-Down Fuses</span> </li> <li> <span style="line-height: 1.66667;">Current Rating: </span><a href="//www.waytekwire.com/products/1367/Fuses/&amp;Amps=100" target="_self">100A</a> </li> <li> <span style="line-height: 1.66667;">Voltage Rating: </span><a href="//www.waytekwire.com/products/1367/Fuses/&amp;Volts=32" style="line-height: 1.66667;" target="_self">32V</a> </li> <li> <span style="line-height: 1.66667;">Bolt-down design copper terminals</span> </li> <li> <span style="line-height: 1.66667;">Mounting: M8 or 5/16-18 or less studs on 2" centers</span> </li> <li> <span style="line-height: 1.66667;">For high current applications</span> </li> <li><span style="line-height: 1.66667;">Use with <a href="https://www.waytekwire.com/products?pSearch=LMG" target="_blank">Eaton LMG Fuse Blocks</a> or </span><a href="//www.waytekwire.com/item/46039/Bussmann-FMG211-Hi-Amp-AMG-Fuse-Holder-with-Cover/" style="line-height: 1.66667;" target="_self">Eaton AMG Fuse Holder</a></li> </ul>
| 27821 | WG20-8 | GPT 20 GA wire - 500ft | WG20-8.jpg |  |  | 2085 | Automotive Primary Wire, GPT Standard Wall, 20 GA, Gray - 500 ft | <div> Spool Sizes Available: 500', 1000', 3000', 5000' </div>
| 20110 | 75772 | High Power Skirted Mini Relay | 75772.jpg |  |  | 2085 | High Power Skirted Mini Relay, 50A, 12V, SPDT, 896H-1CH-D1SW-12VDC | <ul><li>Song Chuan High Power Skirted Mini Relay 896H-1CH-D1SW-12VDC</li><li>Category: <a href="https://www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/" target="_blank">Mechanical Relays &amp; Connectors</a><br/></li><li>Manufacturer: <a href="https://www.waytekwire.com/manf/150/Song-Chuan/" target="_blank">Song Chuan</a></li><li>Component Type: Mini Relay</li><li>Circuitry: SPDT</li><li>NO Amp: 50A</li><li>NC Amp: 30A</li><li>Volt Rating: 12V</li><li>Terminals: Five 1/4" terminals</li><li>Skirted Mini Relay</li><li>Space saving relay with high current capacity<br/></li><li>Designed to perform in temperatures as low as -40°F (-40°C) and as high as 275°F (125°C)</li><li>Ideal for use in a variety of automotive applications including starter motors, hazard-warning lights, ignition and battery-disconnect relays, etc.</li></ul>
| 20110 | 75747 | ISO 280 Mini Relay | 75747.jpg |  |  | 2085 | ISO 280 Mini Relay, 50A, 12VDC, SPDT, Resistor & Steel Bracket, 898H-1CH-D1SW-R1-U05-12V | <ul><li>Song Chuan ISO 280 Mini Relay with Resistor &amp; Steel Bracket, 898H-1CH-D1SW-R1-U05-12V</li><li>Category: <a href="https://www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/" target="_blank">Mechanical Relays &amp; Connectors</a><br/></li><li>Manufacturer: <a href="https://www.waytekwire.com/manf/150/Song-Chuan/" target="_blank">Song Chuan</a></li><li>Circuitry: <a href="https://www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/&amp;Circuitry=SPDT-Circuitry" target="_blank">SPDT</a></li><li>NO Amp: <a href="https://www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/&amp;NO-Amp=NO-50A-" target="_blank">50A</a></li><li>NC Amp: <a href="https://www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/&amp;NC-Amp=NC-30A" target="_blank">30A</a></li><li>Volt Rating: <a href="https://www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/&amp;Nominal-Voltage=12V" target="_blank">12V</a></li><li>Terminals: <a href="https://www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/&amp;Terminals-Required=Five-2-8mm-Terminals-Required" target="_blank">Five 2.8mm Terminals</a></li><li>Steel Bracket</li><li>Resistor included</li><li>Space saving relay with high current capacity</li><li>Designed to perform in temperatures as low as -40°F (-40°C) and as high as 275°F (125°C)</li><li>Ideal for use in variety of automotive applications including starter motors, hazard warning lights, ignition and battery disconnect relays</li></ul>
| 20586 | 44511 | Littelfuse 08098780 Manual Battery Disconnect Switch | littelfuse1.jpg |  |  | 2085 | Littelfuse 08098780 Manual Battery Disconnect Switch, SPST, 150A, 24V | <ul><li>Littelfuse 08098780 Manual Battery Disconnect Switch<br/></li><li>Category: <a href="https://www.waytekwire.com/products/1408/Battery-Disconnects/" target="_blank">Battery Disconnects</a></li><li>Manufacturer: <a href="https://www.waytekwire.com/manf/111/Littelfuse/" target="_blank">Littelfuse</a></li><li>Max Operating Voltage: 24V DC</li><li>Max Continuous Current: 150A</li><li>Operating Temp: -40c to +85c</li><li>Ingress Protection: IP4X</li><li>Contacts: Copper</li><li>Terminals: M10 (zinc-plated steel nuts)</li><li>Switch that features a removable handle with a plastic body</li></ul>
| 20110 | 75610 | Mini Relay Connector 5 Pin Harness | 75610.jpg |  |  | 2085 | Mini Relay Connector 75610, 5 Pin, Harness Mount | <ul> <li>Mini Relay Connector 75610</li><li>Category: <a href="https://www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/" target="_blank">Mechanical Relays &amp; Connectors</a><br/></li><li>Connects to 5 pin, weatherproof 3-12 ga and 2-18 ga, GXL 12" leads<br/></li> <li> Terminals included </li> <li> 185°F (85°C) - 40°F (-40°C) </li> <li> Use crimp tool stock no. <a href="//www.waytekwire.com/item/419/TOOL-U-BARREL-CRIMP-TOOL/" target="_self">419</a> </li> <li> Heat Stabilized thermoplastic connectors for relays </li> <li> Terminals (when supplied with connector) are brass, bright tin plated </li> <li> Connectors for panel mounting can be stacked together </li> </ul>
| 20110 | 75414 | Mini Relay V23234-A0001-X042 | 75414.jpg |  |  | 2085 | TE Connectivity V23234-A0001-X042 Mini Relay, SPDT, 40/20A, 12V | <ul> <li>TE Connectivity V23234-A0001-X042 Mini Relay<br/></li><li>Category: <a href="//www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/" target="_self">Mechanical Relays &amp; Connectors</a></li><li>Manufacturer: <a href="https://www.waytekwire.com/manf/165/TE-Connectivity---Tyco/" target="_blank">TE Connectivity</a></li><li>High current mini relay<br/></li> <li> SPDT </li> <li> Resistor </li> <li> 5 terminals </li> <li> 40 amps normally open </li> <li> 20 amps normally closed </li> <li> 12 volts</li><li>Former Bosch Part No.: 332209159 </li> </ul>
| 20110 | 75415 | Mini Relay V23234-A1001-X043 | 75415.jpg |  |  | 2085 | TE Connectivity V23234-A1001-X043 Mini Relay, SPDT, 40/20A, 12V | <ul> <li>TE Connectivity V23234-A1001-X043 Mini Relay<br/></li><li>Category: <a href="//www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/" target="_self">Mechanical Relays &amp; Connectors</a></li><li>Manufacturer: <a href="https://www.waytekwire.com/manf/165/TE-Connectivity---Tyco/" target="_blank">TE Connectivity</a> </li><li> High current mini relay </li> <li> SPDT </li> <li> Resistor </li> <li> Bracket </li> <li> 5 terminals </li> <li> 40 amps normally open </li> <li> 20 amps normally closed </li> <li> 12 volts</li><li>Former Bosch Part No.: 332209161 <br/></li> </ul>
| 20110 | 75860 | PC792E-1C-C-12S-RN-X Mini ISO Relay | 75860.jpg |  |  | 2085 | PC792E-1C-C-12S-RN-X Mini ISO Relay, 12V, SPDT, 50A, Sealed, Resistor, Ignition Protected | <ul><li>Picker PC792E-1C-C-12S-RN-X Mini ISO Relay<br/></li><li>Category: <a href="https://www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/" target="_blank">Mechanical Relays &amp; Connectors</a></li><li>Manufacturer: <a href="https://www.waytekwire.com/manf/141/Picker-Components/" target="_blank"><font color="#0000ff">Picker Components</font></a></li><li>Type: Mini Relay</li><li>Contact Action: SPDT (1C)</li><li>Voltage Rating: 12V</li><li>NO Current Rating: 50A</li><li>NC Current Rating: 40A</li><li>Terminal Type: (5) 1/4" Blades</li><li>Nickel plated terminals</li><li>Sealed case enclosure</li><li>Internal resistor included</li><li>Contact switching capacity up to 150A</li><li>Lead free and RoHS compliant</li><li>Ignition Protected ¦ SAE J1171 ¦ UL 1500 ¦ ISO 8846</li></ul>
| 20110 | 75650 | PC795-1A-C2-12C-N-X 80A Maxi Relay | 75650.jpg |  |  | 2085 | PC795-1A-C2-12C-N-X 80A Maxi Relay, 12V, SPST, Metal Bracket, Ignition Protected | <div> <ul> <li> <b style="line-height: 1.66667;">Picker Components PC795-1A-C2-12C-N-X Maxi Relay </li> <li> <span style="line-height: 1.66667;">Category: </span><a href="//www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/" style="line-height: 1.66667;" target="_self">Mechanical Relays &amp; Connectors</a> </li> <li> <span style="line-height: 1.66667;">Manufacturer: </span><a href="//www.waytekwire.com/manf/141/PICKER-COMPONENTS/" style="line-height: 1.66667;" target="_self">Picker Components</a> </li> <li> <span style="line-height: 1.66667;">Type: Maxi Relay</span></li> <li> <span style="line-height: 1.66667;">Contact Action: </span><span style="line-height: 1.66667;"><a href="//www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/&amp;Contact-Action=SPST" target="_self">SPST</a> (1A)</span> </li> <li> <span style="line-height: 1.66667;">Voltage Rating: </span><a href="//www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/&amp;Volt-Rating=12V" style="line-height: 1.66667;" target="_self">12V</a> </li> <li> <span style="line-height: 1.66667;">NO Current Rating: </span><a href="//www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/&amp;NO-Amp=80A" target="_self">80A</a> </li> <li> <span style="line-height: 1.66667;">NC Current Rating: </span><a href="//www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/&amp;NC-Amp=60A" target="_self">60A</a> </li> <li> <span style="line-height: 1.66667;">Terminal Type: (2) 3/8", (2) 1/4"</span> </li> <li> <span style="line-height: 1.66667;">Nickel plated terminals</span> </li> <li> <span style="line-height: 1.66667;">Metal mounting bracket</span> </li> <li> <span style="line-height: 1.66667;">Dust cover included</span> </li> <li> <span style="line-height: 1.66667;">Contact switching capacity up to 240A</span> </li> <li> <span style="line-height: 1.66667;">Lead free and RoHS compliant</span> </li><li><span style="line-height: 1.66667;">Ignition Protected ¦ SAE J1171 ¦ UL 1500 ¦ ISO 8846 <br/></span></li> </ul> </div>
| 19913 | 47925 | Rectangular LED Clearance Light Red | grote47925.jpg |  |  | 2085 | Rectangular LED Clearance Light Red, 3.78", 12V, .06A, 19 Series 47925 | <ul><li><b style="line-height: 1.66667;"><span style="line-height: 1.66667;">Grote <b style="line-height: 1.66667;"><span style="line-height: 1.66667;">47092-3 </span>SuperNova </span><span style="line-height: 20px;">LED Clearance/Marker Light</span><span style="line-height: 1.66667;">s</span></li><li><span style="line-height: 1.66667;">Category: </span><a href="https://www.waytekwire.com/products/1384/Clearance-Marker-Lights/" style="line-height: 1.66667;" target="_self">Clearance/Marker Lights</a></li><li><span style="line-height: 1.66667;">Manufacturer: </span><a href="//www.waytekwire.com/manf/55/GROTE/" style="line-height: 1.66667;" target="_self">Grote</a></li><li><span style="line-height: 1.66667;">Series: US 19</span></li><li><span style="line-height: 1.66667;">Color: Red</span></li><li><span style="line-height: 1.66667;">Shape: 3.78" Rectangle</span></li><li><span style="line-height: 1.66667;">Voltage/Amps: 12V @ 0.06A</span></li><li><span style=" line-height: 1.66667;">SAE P2<br/></span></li><li><span style="line-height: 1.66667;">Use with </span><a href="https://www.waytekwire.com/item/47928/Grote-43780-3-Clearance-Marker-Light-Bracket-/" target="_self">Grote 43780-3 Marker Light Bracket</a></li><li><span style="line-height: 1.66667;"><a href="https://www.waytekwire.com/item/47926/CLEARANCE---MARKER-LED-LIGHT/" target="_self">Grote 47093-3 Amber SuperNova Clearance/Marker LED Light</a> also available</span></li></ul>
| 20586 | WZ6-0 | SGX Cross-link Battery Cable , 6 GA, BULK - BLACK | WZ6-0.jpg |  |  | 2085 | SGX Cross-link Battery Cable , 6 GA, BULK - BLACK | <div> Spool Sizes Available: <b style="line-height: 1.6666;">100', 250', 500' </div>
| 20586 | WZ6-2 | SGX Cross-link Battery Cable , 6 GA, BULK - RED | WZ6-2.jpg |  |  | 2085 | SGX Cross-link Battery Cable , 6 GA, BULK - RED | <div> Spool Sizes Available: <b style="line-height: 1.6666666666666667;">100', 250', 500' </div>
| 20586 | WZ00-0 | SGX Cross-link Battery Cable Copper 2GA BLACK | WZ00-0.jpg |  |  | 2085 | SGX Cross-link Battery Cable, Bare Copper, 2/0 GA, BLACK | <div> Spool Sizes Available: <b style="line-height: 1.6666;">100', 250'<b style="line-height: 1.6666;"><b style="line-height: 1.6666;">, 500' </div>
| 20586 | WZ00-2 | SGX Cross-link Battery Cable Copper 2GA Red | WZ00-2.jpg |  |  | 2085 | SGX Cross-link Battery Cable, Bare Copper, 2/0 GA, Red | <div> Spool Sizes Available: <b style="line-height: 1.6666666666666667;">100', 250'<b style="line-height: 1.6666666666666667;"><b style="line-height: 1.6666666666666667;">, 500' </div>
| 20212 | 46511 | Shortstop 2 Pole Breaker 10A | slotted.jpg |  |  | 2085 | Shortstop 2 Pole Breaker 10A Plastic Body | <ul> <li> <b style="line-height: 1.66667;">EATON's Bussmann Series <b style="line-height: 1.66667;">121B10-B2P-KA Shortstop Circuit Breakers </li> <li>Category: <a href="https://www.waytekwire.com/products/1664/Eaton-Short-Stop-Circuit-Breakers/" target="_blank">Eaton Short Stop Circuit Breakers</a><br/></li><li><span style="line-height: 1.66667;">Manufacturer: </span><a href="https://www.waytekwire.com/manf/15/EATON" target="_self">EATON</a><br/></li> <li> <span style="line-height: 1.66667;">Series: 12X</span> </li> <li> <span style="line-height: 1.66667;">Type: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Type=Short-Stop" style="line-height: 1.66667;" target="_self">Shortstop</a> </li> <li> <span style="line-height: 1.66667;">Current Rating: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Amps=10" style="line-height: 1.66667;" target="_self">10A</a> </li> <li> <span style="line-height: 1.66667;">Voltage Rating: 12V</span> </li> <li> <span style="line-height: 1.66667;">Terminals: (2) #10-32 Studs</span> </li> <li> <span style="line-height: 1.66667;">Reset Method: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Reset-Method=Type-I---Automatic" style="line-height: 1.66667;" target="_self">Type I - Automatic</a> </li> <li> <span style="line-height: 1.66667;">Mounting Style: </span>In-Line Bracket </li> <li> <span style="line-height: 1.66667;">Plastic housing cover</span> </li> <li> <span style="line-height: 1.66667;">Metal housing also available (</span><span style="line-height: 1.66667;"><a href="//www.waytekwire.com/item/46511/Cooper-Bussmann-121B10-B2P-KA-Type-1/" target="_self">Cooper Bussmann 121B10-B2P-KA Shortstop Circuit Breaker</a>)</span> </li> </ul>
| 20212 | 46430 | EATON's Bussmann Series 121B30-00M-KA Shortstop Circuit Breakers | eaton-color.jpg |  |  | 2085 | EATON's Bussmann Series 121B30-00M-KA Shortstop Circuit Breakers | <ul> <li> <b style="line-height: 1.66667;">EATON's Bussmann Series 121B30-00M-KA Shortstop Circuit Breakers </li> <li>Category: <a href="https://www.waytekwire.com/products/1664/Eaton-Short-Stop-Circuit-Breakers/" target="_blank">Eaton Short Stop Circuit Breakers</a><br/></li><li><span style="line-height: 1.66667;">Manufacturer: </span><a href="https://www.waytekwire.com/manf/15/EATON" target="_self">EATON</a><br/></li> <li> <span style="line-height: 1.66667;">Series: 12X</span> </li> <li> <span style="line-height: 1.66667;">Type: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Type=Short-Stop" style="line-height: 1.66667;" target="_self">Shortstop</a> </li> <li> <span style="line-height: 1.66667;">Current Rating: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Amps=30" target="_self">30A</a> </li> <li> <span style="line-height: 1.66667;">Voltage Rating: 12V</span> </li> <li> <span style="line-height: 1.66667;">Terminals: (2) #10-32 Studs</span> </li> <li> <span style="line-height: 1.66667;">Reset Method: </span><a href="//www.waytekwire.com/products/1366/Circuit-Breakers/&amp;Reset-Method=Type-I---Automatic" style="line-height: 1.66667;" target="_self">Type I - Automatic</a> </li> <li> <span style="line-height: 1.66667;">Heavy-duty metal housing cover</span> </li> <li> <span style="line-height: 1.66667;">No bracket included</span> </li> <li> Plastic housing also available (<span style="line-height: 1.66667;"><a href="//www.waytekwire.com/item/46431/Cooper-Bussmann-121B30-00P-KA-Type-1/" target="_self">Cooper Bussmann 121B30-00P-KA</a>)</span> </li> </ul>
| 27821 | SJ14-2 | SJOOW Service Cord SJ14-2, 41/30 Stranding (2) | SJ14-2.jpg |  |  | 2085 | SJOOW Service Cord SJ14-2, 41/30 Stranding - 250ft roll | <ul> <li><span style="line-height: 1.66667;">Southwire 55812101 SJOOW Service Cord</span></li><li><span style="line-height: 1.66667;">Category: </span><a href="https://www.waytekwire.com/products/1462/Service-Cord/" target="_blank">Service Cord</a></li><li>Manufacturer: <a href="https://www.waytekwire.com/manf/133/Southwire/" target="_blank">Southwire</a></li><li> <span style="line-height: 1.6666666666666667;">Comes in 250' spool</span> </li> <li> Excellent resistance to abrasion, ozone, sunlight, chemicals and oils </li> <li> Inside jacket material is chlorinated polyethylene CPE </li> <li> Approved for submersion in water </li> <li> Outer jacket printed with cable identification, wire gauge and number of conductors </li> <li> Conductor colors: black &amp; white </li> <li> MSHA approved </li> <li> UL/CSA horizontal flame test </li> <li> -40°F (-40°C) to 194°F (90°C) </li> <li> SJOOW rated 300 volts, outside insulation material is Ethylene Propylene (EP) </li> </ul>
| 19917 | 46600 | Slotted MCASE+ Cartridge Fuse, 15A | slotted2.jpg |  |  | 2085 | Slotted MCASE+ Cartridge Fuse, 15A - 10pk | <div>The Unslotted MCASE+ Fuse is a cartridge style fuse up to 40A with female terminals for 2.8mm male terminals. The Slotted MCASE+ Fuse is available in amperage's up to 60A and can mate with larger male terminals (e.g., 6.3mm) or even mount directly onto a busbar. </div>
| 19917 | 46601 | Slotted MCASE+ Cartridge Fuse, 20A | slotted20.jpg |  |  | 2085 | Slotted MCASE+ Cartridge Fuse, 20A - 10pk | <div>The Unslotted MCASE+ Fuse is a cartridge style fuse up to 40A with female terminals for 2.8mm male terminals. The Slotted MCASE+ Fuse is available in amperage's up to 60A and can mate with larger male terminals (e.g., 6.3mm) or even mount directly onto a busbar. </div>
| 19917 | 46602 | Slotted MCASE+ Cartridge Fuse, 25A | slotted25.jpg |  |  | 2085 | Slotted MCASE+ Cartridge Fuse, 25A - 10pk | <div>The Unslotted MCASE+ Fuse is a cartridge style fuse up to 40A with female terminals for 2.8mm male terminals. The Slotted MCASE+ Fuse is available in amperage's up to 60A and can mate with larger male terminals (e.g., 6.3mm) or even mount directly onto a busbar. </div>
| 19917 | 46603 | Slotted MCASE+ Cartridge Fuse, 30A | slot46603.jpg |  |  | 2085 | Slotted MCASE+ Cartridge Fuse, 30A - 10pk | <div>The Unslotted MCASE+ Fuse is a cartridge style fuse up to 40A with female terminals for 2.8mm male terminals. The Slotted MCASE+ Fuse is available in amperage's up to 60A and can mate with larger male terminals (e.g., 6.3mm) or even mount directly onto a busbar. </div>
| 19917 | 46604 | Slotted MCASE+ Cartridge Fuse, 40A | slotted46604.jpg |  |  | 2085 | Slotted MCASE+ Cartridge Fuse, 40A - 10pk | <div>The Unslotted MCASE+ Fuse is a cartridge style fuse up to 40A with female terminals for 2.8mm male terminals. The Slotted MCASE+ Fuse is available in amperage's up to 60A and can mate with larger male terminals (e.g., 6.3mm) or even mount directly onto a busbar. </div>
| 27821 | SO14-3 | SOOW Service Cord SO14-3, 41/30 Stranding | SO14-3.jpg |  |  | 2085 | SOOW Service Cord SO14-3, 41/30 Stranding - (250 ft increments) | <ul> <li><span style="line-height: 1.66667;">Southwire 55809906 SOOW Service Cord</span></li><li><span style="line-height: 1.66667;">Category: </span><a href="https://www.waytekwire.com/products/1462/Service-Cord/" target="_blank">Service Cord</a></li><li>Manufacturer: <a href="https://www.waytekwire.com/manf/133/Southwire/" target="_blank">Southwire</a></li><li> <span style="line-height: 1.6666666666666667;">Comes in 250' spool</span> </li> <li> Excellent resistance to abrasion, ozone, sunlight, chemicals and oils </li> <li> Inside jacket material is chlorinated polyethylene CPE </li> <li> Approved for submersion in water </li> <li> Outer jacket printed with cable identification, wire gauge and number of conductors </li> <li> Conductor colors: black, white &amp; green </li> <li> MSHA approved </li> <li> UL/CSA horizontal flame test </li> <li> -40°F (-40°C) to 194°F (90°C) </li> <li> SOOW rated 600 volts, outside insulation material is Ethylene Propylene Diene M-Class (EPDM) </li> </ul>
| 20586 | 23504 | Straight-In Battery Boot, 1/0-2/0 GA, Black | black-boot.jpg |  |  | 2085 | Straight-In Battery Boot, 1/0-2/0 GA, Black | <ul> <li>23504 Straight-In Battery Boot</li><li>Category: <a href="https://www.waytekwire.com/products/1423/Battery-Boots/" target="_blank">Battery Boots</a></li><li> Protect battery cables from corrosion and shorting </li> <li> Improve the appearance of your battery connections </li> <li> More <a href="../../../../../../../../../products/1423/Battery-Boots/&amp;Type=Alternator">alternator type</a>, <a href="../../../../../../../../../products/1423/Battery-Boots/&amp;Type=Straight-In">straight-in</a> and <a href="../../../../../../../../../products/1423/Battery-Boots/&amp;Type=Marine">marine type</a> battery boot options available </li> </ul>
| 20586 | 23505 | Straight-In Battery Boot, 1/0-2/0 GA, Red | red-boot.jpg |  |  | 2085 | Straight-In Battery Boot, 1/0-2/0 GA, Red | <ul> <li>23505 Straight-In Battery Boot</li><li>Category: <a href="https://www.waytekwire.com/products/1423/Battery-Boots/" target="_blank">Battery Boots</a></li><li> Protect battery cables from corrosion and shorting </li> <li> Improve the appearance of your battery connections </li> <li> More <a href="../../../../../../../../../products/1423/Battery-Boots/&amp;Type=Alternator">alternator type</a>, <a href="../../../../../../../../../products/1423/Battery-Boots/&amp;Type=Straight-In">straight-in</a> and <a href="../../../../../../../../../products/1423/Battery-Boots/&amp;Type=Marine">marine type</a> battery boot options available </li> </ul>
| 28197 | WG20 | Striped Wire - White/Blue - 20 gauge | WG20.jpg |  |  | 2085 | Striped Wire - White/Blue - 20 gauge - 500ft | <div> Spool Sizes Available: 500', 1000', 3000', 5000' </div>
| 28197 | WG20-6 | Striped Wire Blue/Yellow | WG20-6.jpg |  |  | 2085 | 20g Blue/Yellow - 500ft | <div> Spool Sizes Available: 500', 1000', 3000', 5000' </div>
| 28197 | WG20-8 | Striped Wire Grey/Blk | WG20-8.jpg |  |  | 2085 | 20g Grey/Blk - 500ft | <div> Spool Sizes Available: 500', 1000', 3000', 5000' </div>
| 28197 | WG20-8 | Striped Wire Grey/White | WG20-8.jpg |  |  | 2085 | 20g Grey/White - 500ft | <div> Spool Sizes Available: 500', 1000', 3000', 5000' </div>
| 28197 | WG18-3 | Striped Wire Orange/White | WG18-3.jpg |  |  | 2085 | 18g Orange/White - 500ft | <ul> <li>WG18-3-100 Automotive Primary Wire, GPT Standard Wall<br/></li><li>Category: <a href="https://www.waytekwire.com/products/1455/Automotive-Primary-Wire/" target="_blank">Automotive Primary Wire</a></li><li>Automotive primary wire is a general purpose wire for original equipment and replacement automotive applications<br/></li> <li> Smooth jacket surface ideal for pulling through corrugated loom or conduit </li> <li> SAEJ1128-GPT </li> <li> Excellent resistance to oil and flame </li> <li> Single conductor, stranded, bare copper </li> <li> Jacketed polyvinylchloride (PVC) </li> <li> Available in drum/barrel quantities at discounted prices </li> <li> Temp rating: -40°F (-40°C) to 185°F (85°C) </li> <li> Larger spool sizes available. See <a href="//www.waytekwire.com/item/WG18-3/" target="_self">WG18-3</a> </li> </ul>
| 28197 | WG18-12 | Striped Wire Pink/White | WG18-12.jpg |  |  | 2085 | 18g Pink/WHITE - 500ft | <ul> <li>WG18-12-100 Automotive Primary Wire, GPT Standard Wall<br/></li><li>Category: <a href="https://www.waytekwire.com/products/1455/Automotive-Primary-Wire/" target="_blank">Automotive Primary Wire</a></li><li>Automotive primary wire is a general purpose wire for original equipment and replacement automotive applications<br/></li> <li> Smooth jacket surface ideal for pulling through corrugated loom or conduit </li> <li> SAEJ1128-GPT </li> <li> Excellent resistance to oil and flame </li> <li> Single conductor, stranded, bare copper </li> <li> Jacketed polyvinylchloride (PVC) </li> <li> Available in drum/barrel quantities at discounted prices </li> <li> Temp rating: -40°F (-40°C) to 185°F (85°C) </li> <li> Larger spool sizes available. See <a href="//www.waytekwire.com/item/WG18-12/" target="_self">WG18-12</a> </li> </ul>
| 28197 | WG18-7 | Striped Wire Violet/Black | WG18-7.jpg |  |  | 2085 | 18g Violet/Black - 500ft | <ul> <li>WG18-7-100 Automotive Primary Wire, GPT Standard Wall<br/></li><li>Category: <a href="https://www.waytekwire.com/products/1455/Automotive-Primary-Wire/" target="_blank">Automotive Primary Wire</a></li><li>Automotive primary wire is a general purpose wire for original equipment and replacement automotive applications<br/></li> <li> Smooth jacket surface ideal for pulling through corrugated loom or conduit </li> <li> SAEJ1128-GPT </li> <li> Excellent resistance to oil and flame </li> <li> Single conductor, stranded, bare copper </li> <li> Jacketed polyvinylchloride (PVC) </li> <li> Available in drum/barrel quantities at discounted prices </li> <li> Temp rating: -40°F (-40°C) to 185°F (85°C) </li> <li> Larger spool sizes available. See <a href="//www.waytekwire.com/item/WG18-7/" target="_self">WG18-7</a> </li> </ul>
| 28197 | WG18-9 | Striped Wire White/Brown | WG18-9 .jpg |  |  | 2085 | 18g White/Brown - 500ft | <ul> <li>WG18-9-100 Automotive Primary Wire, GPT Standard Wall<br/></li><li>Category: <a href="https://www.waytekwire.com/products/1455/Automotive-Primary-Wire/" target="_blank">Automotive Primary Wire</a></li><li>Automotive primary wire is a general purpose wire for original equipment and replacement automotive applications<br/></li> <li> Smooth jacket surface ideal for pulling through corrugated loom or conduit </li> <li> SAEJ1128-GPT </li> <li> Excellent resistance to oil and flame </li> <li> Single conductor, stranded, bare copper </li> <li> Jacketed polyvinylchloride (PVC) </li> <li> Available in drum/barrel quantities at discounted prices </li> <li> Temp rating: -40°F (-40°C) to 185°F (85°C) </li> <li> Larger spool sizes available. See <a href="//www.waytekwire.com/item/WG18-9/" target="_self">WG18-9</a> </li> </ul>
| 28197 | WT14-4 | Trailer Cable 14/4 GA | 47925.jpg |  |  | 2085 | Trailer Cable, Stranded Bare Copper, 14/4 Gauge/conductors - 100ft WT14-4 | <div> Spool Sizes Available: <b style="line-height: 1.6666666666666667;">100', 500'<b style="line-height: 1.6666666666666667;"> </div>
| 20110 | 75413 | V23234-A0001-X037 Mini Relay | 75413.jpg |  |  | 2085 | TE Connectivity V23234-A0001-X037 High Current Mini Relay, SPDT, 40/20A, 12V | <ul> <li>TE Connectivity V23234-A0001-X037 High Current Mini Relay</li><li>Category: <a href="//www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/" target="_self">Mechanical Relays &amp; Connectors</a><br/></li> <li>Manufacturer: <a href="https://www.waytekwire.com/manf/165/TE-Connectivity---Tyco/" target="_blank">TE Connectivity</a></li><li>5 Quick Connect Terminals<br/></li> <li> Contact Action: <a href="//www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/&amp;Contact-Action=SPDT" target="_self">SPDT</a> </li> <li> Volts: <a href="//www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/&amp;Volt-Rating=12V" target="_self">12V</a> </li> <li> NO Amps: <a href="//www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/&amp;NO-Amp=40A" target="_self">40A</a> </li> <li> NC Amps: <a href="//www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/&amp;NC-Amp=20A" target="_self">20A</a></li><li>Former Bosch Part No.: 332209151<br/></li> </ul>
| 20110 | 75411 | V23234-A1001-X036 Mini Relay | 75411.jpg |  |  | 2085 | TE Connectivity V23234-A1001-X036 High Current Mini Relay, SPDT, 40A, 12V | <ul> <li>TE Connectivity V23234-A1001-X036 High Current Mini Relay</li><li>Category: <a href="//www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/" target="_self">Mechanical Relays &amp; Connectors</a><br/></li> <li> Manufacturer: <a href="https://www.waytekwire.com/manf/165/TE-Connectivity---Tyco/" target="_blank">TE Connectivity</a></li> <li> 5 Quick Connect Terminals </li> <li> Bracket </li> <li> Contact Action: <a href="//www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/&amp;Contact-Action=SPDT" target="_self">SPDT</a> </li> <li> Volts: <a href="//www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/&amp;Volt-Rating=12V" target="_self">12V</a> </li> <li><span style="line-height: 1.66667;">Former Bosch Part No.: 0332209150</span></li> </ul>
| 20110 | 75301 | V23234-B0001-X001 Mini Relay | 75301.jpg |  |  | 2085 | TE Connectivity V23234-B0001-X001 High Current Mini Relay, SPST, 50A, 12V | <ul> <li>TE Connectivity V23234-B0001-X001 High Current Mini Relay<br/></li><li>Category: <a href="https://www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/" target="_blank">Mechanical Relays &amp; Connectors</a></li><li>Manufacturer: <a href="https://www.waytekwire.com/manf/165/TE-Connectivity---Tyco/" target="_blank">TE Connectivity</a></li><li>High current mini relay<br/></li> <li> SPST </li> <li> Resistor </li> <li> 4 terminals </li> <li> 50 amps normally open </li> <li> 12 volts</li><li>Former Bosch Part No.: 332019103 <br/></li> </ul>
| 20110 | 75302 | V23234-B1001-X004 Mini Relay, Resistor | 75302.jpg |  |  | 2085 | TE Connectivity V23234-B1001-X004 High Current Mini Relay, SPST, 50A, 12V, Resistor | <ul> <li>TE Connectivity V23234-B1001-X004 High Current Mini Relay</li><li>Category: <a href="https://www.waytekwire.com/products/1402/Mechanical-Relays-Connectors/" target="_blank">Mechanical Relays &amp; Connectors</a><br/></li><li>Manufacturer: <a href="https://www.waytekwire.com/manf/165/TE-Connectivity---Tyco/" target="_blank">TE Connectivity</a></li><li>50-amp normally open high capacity automotive mini relay with supression resistor<br/></li> <li> Single Pole Single Throw (SPST) </li> <li> 4 quick connect terminals </li> <li> 12 volts</li><li>Former Bosch Part No.: 332019110 <br/></li> </ul>